## Slide 1
Insert your text Here
Insert your text Here
Insert your text Here
Insert your text Here
Insert your text Here
PCB-Design
Continuous Glucose Monitoring
.
Supervisor : Dr. Munmun Das
.
Abstract
Background
Methods
Results
Conclusion
Future Perspectives
Customized PCB Development: The project focuses on designing a tailored Printed Circuit Board (PCB) that integrates essential subsystems, including an electrochemical glucose sensor interface, microcontroller, power management system, and wireless communication module.
Improved Power Efficiency: Smaller PCBs can be designed with optimized layouts that reduce power consumption. This is particularly important for wearable devices that require long battery life, enabling continuous glucose monitoring without frequent recharging.
Reduction in Technology Complexity: The design of a customized PCB for Continuous Glucose Monitoring (CGM) integrates multiple subsystems—such as sensors, microcontrollers, and wireless communication—into a single, compact unit. This simplification reduces the overall complexity of the technology, making it easier for users to operate and understand the device. By minimizing the number of separate components, the likelihood of errors and maintenance issues is also decreased, enhancing reliability.
The project focuses on designing a customized Printed Circuit Board (PCB) for a wearable Continuous Glucose Monitoring (CGM) device, which aims to enhance diabetes management through real-time, non-invasive glucose level monitoring. The PCB will integrate essential subsystems, including an electrochemical glucose sensor interface, microcontroller, power management, and wireless communication module, all within a compact design. This initiative addresses the limitations of traditional invasive glucose testing methods by providing a pain-free alternative, thereby improving user comfort and adherence to glucose monitoring. The design process will involve careful circuit layout to mitigate noise and interference, ensuring reliable data transmission and optimal power efficiency for extended wear in various formats, such as smartwatches. The ultimate goal is to create a cost-effective solution that facilitates continuous glucose monitoring, empowering users to manage their diabetes more effectively.
Reduction in Patient Discomfort: The miniaturization of the PCB allows for the development of non-invasive CGM devices, eliminating the need for painful glucose prick tests. This design enhances user comfort, encouraging consistent monitoring and better adherence to glucose management regimens.
Improved Power Efficiency: The PCB is designed with power management in mind, enabling extended operation without frequent recharging. This is vital for wearable devices, ensuring that users can rely on continuous monitoring throughout their daily activities without interruptions.
Simplification of Technology Complexity: By integrating multiple subsystems—such as sensors, microcontrollers, and communication modules—into a single PCB, the overall complexity of the technology is reduced. This streamlined design not only makes manufacturing easier but also enhances reliability and ease of use for patients.
Enhanced Health Monitoring Capabilities: The customizable PCB design allows for the incorporation of multiple biosensors, enabling the simultaneous tracking of various health indicators beyond glucose levels. This feature provides users with a comprehensive view of their metabolic health, facilitating more informed health management decisions.
Team:- B. Jashwanth rishi, D. Sai Bhargavi, B. Dileep
COMPONENT SELECTION
CIRCUIT DESIGN AND SIMULATION
COMPONENT INTEGRATION
MICROCONTROLLER PROGRAMMING
TESTING
DATA COLLECTION ANALYSIS
Project Development: The initiative successfully creates a Customized Printed Circuit Board (PCB) for a Continuous Glucose Monitoring (CGM) device, focusing on a non-invasive solution that integrates essential subsystems to enhance user comfort.
Future Enhancements: Upcoming work will include extensive real-world testing, improvements to the user interface, and the integration of advanced features like alerts for abnormal glucose levels.
Broader Impact: The project aims to address current challenges in diabetes management and expand applications to other biosensors, significantly improving healthcare solutions for glucose monitoring.
Instrumentation amplifier
3.3V Battery
Graphical User Interface
SENSOR
POTENTIOSTAT
POWER MANAGEMENT SYSTEM
ADC
Analog data plot
Analog data